## Sheet1
Qty | Description | Purchase link | Price
2 | MacIoT board | register usage | 0
10 | Low offset voltage dual comparators | Link | 11.5
1 | DHT11 humidity sensor | we have | 14
1 | Piezoelectric ceramic vibration sensor module | Link | 7
1 | TMP36 temperature sensor | Link | 6
2 | Shunt resistor | Link | 15
2 | Red LED | we have | 0.5
1 | active or passive buzzer | we have | 2
1 | DC motor | we have | 14
1 | breadboard | we have | 10
|  | Total: | 80

## other tables
Root Cause | Early Physical Signal | Sensor
Insulation breakdown | partial discharge, gas formation | UHF antennas, capacitive couplers, bushing PD sensors, hydrogen/acetylene/methane sensors
Overload / Overheating | overcurrent, temperature rise, cooling failure | RTDs / thermocouples, ampmeters
Mechanical wear | vibration, acoustic emissions | accelerometers, acoustic emission sensors, vibration sensors
Electrical instability | voltage/current anomalies | voltage/current sensors, power quality analyzers